## Customer information
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
version January 2021
The information contained in this ALIPA Aliphatic Isocyanates Bulk Discharge and Storage Assessment is believed to be accurate. ALIPA disclaims any liability in connection with the use of this information by its members. It is the responsibility of the member user to verify the accuracy of this information.
Customer information
Level 1 | Standard / Recommended by ALIPA |  |  | Product
Level 2 | Not in line with ALIPA recommendations | Assessment of storage containing: | o | IPDI
Level 3 | Improvements highly recommended |  | o | H12MDI
|  |  | o | HDI
Assessed company:
1 | Name
2 | Street + number
3 | Postal / Zip code
4 | City
5 | County
6 | Country
7 | Contact person
8 | Telephone number
9 | E-mail address
10 | Signature
Assessor(s):
11 | Name
12 | Company
13 | Name
14 | Company
15 | Date of assessment: dd-mm-yyyy
16 | Signature

## General Information
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
General Information
Assessed company location is certified for: Valid untill (dd-mm-yyyy):
17 | Quality | o | ISO 9001
|  | o | ISO / TS 16949
|  | o | QS-9000 / VDA 6.1
18 | Environment and/or Health & Safety | o | ISO 14001
|  | o | EMAS
|  | o | SCC / VCA
|  | o | OHSAS 18001
19 | Assessed company location falls within the scope of the Seveso II (96/82/EC ) or III Directive (2012/18/EU) or a national equivalent legislation? | o o o | Yes No Unknown
EHS
20 | Visibility of EHS information | o | Site shows clearly visible information about EHS subjects | o | Some information visible at offices | o | No information visible
Safety Data Sheet
21 | Availability of latest version of SDS from supplying company | o | Yes |  |  | o | No
Location
22 | Access road to customer location | o | Straight / two lanes | o | Narrow / two lanes without additional procedure | o | Makes sharp bend and is narrow without additional procedure
23 | Customer location | o | Location is signposted and easy to find | o | Location difficult to find
24 | Location of storage and production facility | o | Industrial area | o | Populated area with logistics and society procedures in place | o | Populated area without logistics and society procedures in place
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
General Information
Housekeeping
25 | Signs of previous spillage at discharge location | o | No signs | o | Some sign of spillage visible | o | Several spillages visible
26 | Signs of previous spillage at storage location | o | No signs | o | Some sign of spillage visible | o | Several spillages visible
27 | Housekeeping at entry of site | o | Clean and tidy | o | Untidy | o | Dirty
28 | Housekeeping discharge area | o | Clean and tidy | o | Untidy | o | Dirty
29 | Housekeeping storage location | o | Clean and tidy | o | Untidy | o | Dirty
Comments:

## Protection and Hygiene
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Protection and Hygiene
Personal Protective Equipment
30 | Face protection / close fitting goggles | o | Used | o | Available | o | Not Available or safety glasses
31 | Safety helmet | o | Used | o | Available | o | Not Available
32 | Chemical protection suit | o | Used | o | Available | o | Not Available
33 | Chemical protective gloves | o | Used | o | Available | o | Not Available
34 | safety harness if no gantry available and anchor point | o | Used |  |  | o | Not available
35 | Safety shoes / boots | o | Used | o | Available | o | Not Available
36 | Respiratory equipment/ face mask with appropriate filter for routine use | o | Used in critical phases during unloading | o | Available close to discharge point | o | Not available
37 | Escape Filter | o | Directly available | o | Available close to discharge point | o | Not available
38 | Additional respiratory equipment/ Self contained breathing aparatus for emergency | o | Available and close to discharge point / storage tank | o | Available within 15 min. | o | Not available
39 | System in place to manage filter lifetime | o | Yes |  |  | o | No
Personal hygiene
Segregation of areas
40 | Cloth changing / washing area | o | Segregated |  |  | o | Not segregated
41 | Eating / drinking area | o | Segregated |  |  | o | Not segregated
42 | Smoking area | o | Segregated |  |  | o | Not segregated
Industrial hygiene
43 | Periodic monitoring of vapours for storage facilities indoor | o | Frequent monitoring | o | Incidental or no monitoring
51 | Badges (TDI detection) | o | Available and frequently used | o | Available but only used in case of emergency | o | No badges available or used
Never seen such badge ( Phosgen not TDI ) to be canceled
Comments:

## Reception and Documentation
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Reception and Documentation
Reception
44 | Location of reception | o | At the gate | o | At the discharge location
45 | Information about local procedures and instructions | o | Clearly indicated and / or explained | o | Instructions given but not clear | o | No information given
46 | Checking documents | o | Delivery documents are checked at the gate and at discharge location | o | Delivery documents are checked at discharge location | o | No checks on documents are made
47 | Identity check of driver | o | Always checked | o | Checked on ad-hoc basis | o | Not checked
48 | Driver Licence check of driver | o | Always checked | o | Checked on ad-hoc basis | o | Not checked
49 | ADR Certificate check of driver | o | Always checked | o | Checked on ad-hoc basis | o | Not checked
Free space in storage tank
50 | Check delivery volume against free storage space | o | Checks are always done |  |  | o | No checks are done
Cross contamination
51 | Product identity check | o | Checks are done on paper versus equipment (container & storage tank) | o | Checks are only done on paper | o | No checks are done
Site traffic
52 | Routing on site | o | Routing instructions given | o | Limited routing signs available | o | No routing instructions given
Sampling
53 | Sample taking | o | Samples are not taken | o | Samples are taken from dedicated sampling point of the customer by the operator | o | Samples are taken from road tanker, hose or samples taken by the driver
54 | Sample location if sampling | o | Samples are taken from dedicated sampling point of the customer |  |  | o | Samples are taken from the road tanker or hose
Comments:

## Incident Management
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Incident management
Product knowledge
| 55 | Educating on product specific risks and potential hazards | o | Regular training of staff, particulary in case of new employment or new products | o | Occasional training | o | No specific training
Emergency instructions
| 56 | Emergency scenario developed and present (including PPE, waste disposal ..) | o | Yes | o | Yes but needs further clarification ( PPE, waste disposal ..) | o | No
| 57 | Instruction for spillage | o | Clear instructions in the case of spillage available | o | Some info is available | o | No instructions available
| 58 | Instructions for fire and other emergencies | o | Clear instructions available | o | Some info is available | o | No instructions available
| 59 | Driver not involved in cleaning or emergency situations | o | Procedure in place |  |  | o | Driver to participate
Emergency stop
| 60 | Emergency stop for discharge | o | Emergency stop for discharge is automatic incl. valve / pushing button | o | Emergency stop via closing valve / pushing button | o | No emergency stops available
| 61 | Access to emergency stop | o | Easy, unrestricted | o | Difficult | o | Emergency stop not accessible
| 62 | Distance to emergency stop from vehicle | o | From 5 - 15 m | o | Less than 5 or more than 15 m
Emergency exits
| 63 | Emergency exits available | o | 2 or more emergency exits exist in all areas | o | Only one emergency exit exists | o | No emergency exit available
| 64 | Emergency exits clearly marked | o | Yes and well lit |  |  | o | No
Emergency alarms
| 65 | Fire alarm | o | Present and periodically tested | o | Not present
Comments:
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Incident management
Emergency tools
| 66 | Appropriate Fire extinguishers | o | At least two fire extinguishers are present | o | Only one fire extinguisher present | o | No fire extinguishers present
| 67 | Spillage absorbant | o | More than 200 litres of suitable absorbent present | o | Less than 200 litres of suitable absorbent present | o | No suitable absorbent available
| 68 | Neutralising formulation | o | More than 200 litres of suitable decontaminant present | o | Less than 200 litres of suitable decontaminant present | o | No suitable decontaminant present
| 69 | Wind vane | o | well visible at unloading location | o | not in place
Emergency organisation
| 70 | Local emergency response organisation on site | o | Organisation present ER exercises at least once a year for isocyanates | o | Organisation present ER exercise once a year | o | Organisation not present or No evidence of ER exercise
| 71 | Reporting of incidents | o | Reporting of incidents done on a formal basis | o | No regular reporting done | o | No reporting done
| 72 | Professional medical service available | o | Yes, on site - response time < 10 minutes and well informed about MDI/TDI | o | Local, response time > 10 minutes
| 73 | Fire brigade | o | Yes, on site - response time < 10 minutes and well informed about Isocyanate hazards | o | Local, response time > 10 minutes
Emergency showers / eye wash facility
| 74 | Emergency shower available | o | Yes |  |  | o | No
| 75 | Eye wash facility available | o | Yes |  |  | o | No
| 76 | Distance safety shower(s) / Eye wash facility from point of discharge | o | Less than 10 m , easy access | o | Between 10 and 20 m | o | More than 20 m and / or only accessible via several obstacles
| 77 | Frost / Temperature protection | o | Safety shower is frost protected Temperature of water does not give a risk to health |  |  | o | No frost nor too high water tempertaure protection
| 78 | Maintenance of safety shower / Eye wash facility | o | Signs of regular maintenance are visible |  |  | o | No sign of any maintenance
| 80 | Quality of eye wash facility | o | Well maintained eye wash facility | o | Eye wash facility shows signs of poor maintenance | o | Clear signs of bad maintenance on eye wash facility
| 79 | Safety shower and eye wash facility tested for 'Legionella' | o | Yes | o | No
| 85 | Distance of eye wash from point of discharge | o | Less than 10 m | o | Between 10 and 20 m | o | More than 20 m and / or only accessible via several obstacles
Comments:

## Discharge area
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Discharge area
General
80 | Discharge area under cover | o | Roof is present Discharge area is well protected | o | Some protection is present | o | No cover or protection/ Height to less
81 | Quality of surface discharge area | o | Liquid tight , test on a regular basis | o | Slightly permeable | o | Permeable
Rain water drainage
82 | Rain water drainage | o | Closed sewer | o | Open sewer | o | No drainage
Collection of spilled product
83 | Draining direction of spillage | o | Away from vehicle | o | Partially away from vehicle | o | Around vehicle
84 | Containment of spillage | o | Containment not connected with sewer system | o | Containment with closed valve / drain to sewer system | o | No containment
85 | Containment of spillage | o | Containment sufficent for one full tank sewer system |  |  | o | containment less than one full truck
Vehicle
86 | Position of bulk vehicle | o | Horizontal | o | inclination
87 | Vehicle movement protection | o | Wheel chocks (2) used |  |  | o | No wheel chocks used
88 | Prevent driving off with connected hoses / unloading arm |  | securing keys / using a barrier / stop sign | o | nothing in place |  | nothing in place
89 | Vehicle access / exit | o | No restrictions | o | Access road has width of at least one vehicle Reversing necessary | o | No access road
Instructions / management
90 | Availability discharge instructions | o | Available , displayed and trained |  |  | o | Not available or not displayed
91 | Unloading operation is done according to a written check list | o | Yes, always used | o | Available but not regulary used | o | No checklist avaiable
92 | Type of discharge instructions | o | Using pictures/ icons/ supported by text in various languagesand be displayed at discharge location | o | using text in several languages and be displayed at discharge location | o | only local language and not displayed at discharge location
93 | Traffic management plan | o | Management plan in place |  |  | o | No management plan
Comments:

## Discharge installation
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Discharge installation
General
94 | Customer is prepared for top discharging | o | Yes |  |  | o | No
Labelling
95 | Discharge connections | o | All connections are clearly labelled and visible | o | Some labelling is present but not very clear | o | No labelling is present
Connectors
96 | Coupling | o | DN50 flange for vapour DN80 for liquid | o | Other DN
97 | Connection piece(s) | o | No connection pieces are used | o | One or more connection piece is used
98 | Risk of mixing with other product(s) | o | No |  |  | o | Yes
Discharge method
99 | Type of discharge | o | Pump | o | Nitrogen or dry air | o | Compressed air from truck
100 | Pump type | o | sealless type | o | Mechanical seal pump
101 | Vapour return line if pump discharge | o | Is present, of good quality and is routinely used | o | Is present but size and/or quality is suspect | o | No vapour return line present
102 | Vapour flow rate monitoring if vapour return line present | o | Is present and stops discharging in case of no indication of flow | o | Is present or and manually monitored | o | No vapour flow rate monitoring present and no other control to adequacy of vapour return line
103 | Pressure in vapour return line (if present) | o | Is present and stops discharging in case of negative pressure | o | Is present or manually monitored
104 | Pressure discharge | o | Protection for overpressure P max = |  |  | o | no overpressure protection
105 | Discharge by pressure | o | Pressure in the container released to 0.1 Bar max via the storage tank |  |  | o | No pressure release or by venting the container to the atmosphere
Discharge platform (fix or mobile)
106 | Construction | o | Discharge platform with stairs and fall protection or 360 ° cage | o | Discharge platform without fall protection or if no platform safety harness and anchor point available | o | No platform available/ doubts about fall protection
107 | Access to top of bulk equipment | o | Safe access without restrictions | o | Narrow access | o | Acces via bulk equipment without fall protection
Comments:
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Discharge installation
Discharge device
108 | Way of discharge | o | Unloading arm | o | Flexible hose
109 | Hose lifting (if hose ) | o | Lifting device which can be operated by one person | o | Lifting device to be operated by two persons | o | No lifting device present
110 | Hose length | o | Hose length is functional for discharge application | o | Slightly short / long hose resulting in unnecessary bending or manoeuvring with vehicle | o | Hose length above 10 m or too short to allow safe connection
Discharge device
111 | Loading arm or hose size | o | DN80 | o | Other DN
112 | Hose ownership ( if hose ) | o | Customer owned |  |  | o | Haulier owned
113 | Hose usage | o | Dedicated to product |  |  | o | Non-dedicated to product
114 | Hose quality (inside & outside) | o | Good, both inside and outside/ hose material fits to product | o | Some signs of inside fouling, doubts about hose material | o | Fouled and / or damaged / unsuitable hose material
115 | Hose capping | o | Hose capped with blind flange on both sides or fixed connected with blind flange on the unmounted side | o | Hose capping insufficiently | o | Hose not capped
116 | Hose storage | o | Hose stored inside under dry conditions | o | Hose stored under cover | o | Hose stored in open air
117 | Hose inspection (visual) | o | Hose shows signs of regular inspection (tagging) | o | Hoses are inspected but evidence is not directly visible | o | No hose inspection takes place
118 | Pressure testing of hose connections to the truck/container prior to discharge | o | Done according to procedure and testing using leak detection tool (e.g. Leak spray, pressure gauche) | o | No pressure testing
Vapour return hose (for pump discharge only)
119 | Hose size | o | 2 inch (DN 50) | o | Between 1 and 2 inch (DN25 and 50) | o | Lower or equal than 1 inch (DN25)
Lighting
120 | Lighting at discharge location | o | Good |  |  | o | Insufficient
Cooperation driver/operator
121 | Connections / disconnections | o | Done by the operator, driver potentially supports, both following a 4-eyes principle | o | Driver makes the connection at the truck and operator at the facilities | o | Done by driver alone
122 | Presence during discharge | o | Operator is present and driver potentially supports | o | Operator is only temporary present | o | Driver is alone during discharge operation
Comments:

## Storage tank
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Storage tank
Size
123 | Storage tank size | o | More than one truck load |  |  | o | Less than one truck load
Containment
124 | Bunding | o | Bund is present and capable to store largest tank volume. Bund has no cracks. Isocyanates and other chemicals in separate bund | o | Bund is present but doubts about bund content. Bund has cracks. Isocyanates and other chemicals tanks in one bund | o | No bunding present
125 | Draining of bunded area | o | Draining of bund via installed pump | o | Draining via (normally closed) valve | o | No containment
Equipment
126 | Quality of tank | o | New or well maintained | o | Some signs of lack of maintenance of older equipment | o | Poor quality with lack of maintenance
127 | Quality of lines | o | New or well maintained | o | Some signs of lack of maintenance of older equipment | o | Poor quality with lack of maintenance
128 | Quality of instrumentation | o | New or well maintained | o | Some signs of lack of maintenance of older equipment | o | Poor quality with lack of maintenance
Temperature
129 | Measurement | o | Temperature measurement inside tank Clear readability | o | External measurement | o | No measurement
130 | Temperature control (for H12MDI) | o | Temperature measurement inside tank with automatic control or tank in heated storage room | o | Manual control of temperature | o | No temperature control
131 | Heat transfer medium | o | Suitable electrical tracing or oil heating | o |  | o | water with standard heat exchanger
132 | Circulation (for H12 MDI only | o | Circulation by pump | o | Circulation by agitator | o | No mixing possible
Comments:
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Storage tank
Pressure
133 | Measurement | o | Pressure indication Visible from discharge location | o | Pressure indication Only visible after climbing to top of storage tank | o | No pressure indication available
134 | Control | o | Over and under pressure control | o | No control
135 | Protection | o | Safety equipment for under and overpressure is installed and well maintained |  |  | o | No protection installed
136 | Alarm | o | Present |  |  | o | Not present
Vapour quality
137 | Inlet gas quality | o | Nitrogen / dry air with demonstrated quality | o | None specified quality of inlet gas | o | Inlet of ambient air
Building
138 | Ventilation of storage building | o | Good ventilation of building (see guidance as INRS …) | o | Some ventilation exists but effect doubted | o | No ventilation present
139 | Lighting | o | Good |  |  | o | Insufficient
Piping
140 | Labelling | o | All pipes properly labelled with product name and flow direction | o | No labelling
141 | Condition | o | In good condition |  |  | o | In bad condition
142 | Insulation (for H12 MDI only) | o | In good condition | o | Insulation not present
Comments:
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Storage tank
Pump
143 | Pump type | o | sealless type - well maintained | o | Some sign of lack of maintenance
Filtration
144 | Filter | o | Dirt deflector (pump protection) | o | not available
Level
145 | Indication | o | Reliable level indication |  |  | o | No level indication
146 | Side glass level indication | o | Not present | o | Protected side glass present | o | Unprotected side glass present
147 | High level protection | o | High level alarm via level instrument and independent level switch | o | High level alarm via level instrument | o | No high level alarm
148 | High level alarm function | o | High level stops the discharge | o | Acoustical or optical alarm but no automatic action | o | No function
149 | Visibility of level indication | o | Visible from discharge location Visible from control room | o | Level indication only visible close to storage tank | o | Level indication only visible after climbing on storage tank
Venting of storage
150 | Direction | o | Storage vents to safe location outside storage area | o | Storage vents to area where occasionally personnel is present | o | Storage vents inside storage building or to location where personnel is working
151 | Avoidance of cross contamination | o | Venting via separate lines No connection with other storage tanks |  |  | o | Venting line in combination with venting of other storages
152 | Vapour treatment | o | Present | o | Not present
Comments:

## RM&MoC
ALIPA ALIPHATIC ISOCYANATES BULK DISCHARGE & STORAGE ASSESSMENT
Risk Management & Management of Change
Risk analysis
153 | Risk analysis of installation | o | Yes, specify method used.... | o | Internal procedure | o | No special risk analysis
154 | Done by | o | Expert team or specialiste staff | o | Staff
155 | Documentated | o | Yes | o | No
156 | Last update dd/mm/yyyy
Management of Change
157 | Risk analysis prior to changes | o | Yes, specify method used.... | o | Internal procedure | o | No
158 | Written procedures for changes | o | Yes |  |  | o | No
159 | Responsibilty for written procedures & changes | o | Expert team | o | Specialist staff / Other
Repair & maintenance
160 | Regular check of safety equipment | o | Yes, implementation of regular checks, according results of risk analysis | o | Occasional checks | o | No checks
161 | Qualified maintenance providers | o | Use of professinal, qualified providersor specialist staff with product-knowledge and experience | o | Staff or provider without special experience
162 | Permit procedures for hazardous work used | o | Always | o | Rarely | o | Permit procedures not used
Comments: